# Investigator’s brochures for medical device clinical trials

A sponsor’s guide to the expectations for the contents of an Investigator’s Brochure

Last updated

14 March 2024

- Listen

- Print

- Share

All trials that investigate medical devices, regardless of device classification, should have an Investigator’s Brochure (IB), or equivalent documentation.

The IB compiles all available clinical and non-clinical data to inform on the safety of the investigational device that is to be studied in humans.

#### What to include

A brochure should inform the reader and help them make an unbiased benefit-risk assessment of the proposed trial.

Information in the brochure should be:

- written in English (other languages not accepted);

- in language the reader understands;

- up to date; and

- presented in a concise, simple and non-promotional way.

A medically qualified person is expected to participate in the editing of your IB.

Recommended structure

We recommend that you present the information under the following headings:

General

Identification of the IB

Sponsor of the trial/manufacturer

Investigational device information

Preclinical testing

Existing clinical data

Risk management

Regulatory and other references

#### Ensuring completeness of your IB

You should pay particular attention to the following:

Adequate characterisation/description of the device and its operation, including:

  - Design/engineering drawing and electronic models of device

  - Rationale for device design

  - Device and performance specifications

  - Description of materials (including biocompatibility information)

  - Description of function - how does the device and/or its components/subsystems work together to achieve the desired function

  - Verifications and validations reports for device, subsystems and main system

  - Usability studies, where applicable

Adequate description of the manufacturing controls used to ensure that the devices are produced consistently and as designed (for example, compliance with ISO 13485:2016 Medical devices – Quality management systems – Requirements for regulatory purposes).

Include data-driven laboratory studies with detailed descriptions of methods and conclusions.

Animal studies with validation of animal selection, scientific justification for the number of animals selected, and appropriate follow-up duration.

A summary of prior publications, including copies of relevant publications (positive and negative) and relevant information.

More information

ISO 14155:2020 Clinical investigation of medical devices for human subjects – Good clinical practice

Clinical trials

[LINK] Review of first-in-human high-risk implantable or cardiac invasive medical device clinical trials